## Slide 1
Analyzing the Performance of Linear and Nonlinear
Multi-Period Optimal Power Flow Models
for Active Distribution Systems
Paper ID: 775
Date: 04-July-2025
Presenter: Subho Paul
Authors: Aryan Jha1, Subho Paul2 & Anamika Dubey1
1School of Electrical Engineering & Computer Science, Washington State University, Pullman, WA, United States
2Department of Electrical Engineering, Indian Institute of Technology (BHU) Varanasi, Varanasi, UP, India
Paper ID: 775

## Slide 2
Intertemporal Constraints
Intertemporal Constraints
Set Points
Battery SOC Equation
An example of
is
Due to these intertemporal constraints, the optimization problem size becomes times larger, becoming more difficult to solve.
Intertemporal Constraints
Desired Objective Function
Network Constraints
Engineering Constraints
Component Constraints (DERs, Batteries)
The Multi Period Optimal Power Flow (MPOPF) problem for Active Distribution Systems
Controllable Components: Grid Edge Devices (GEDs) like Batteries and PVs spread throughout whose real and reactive dispatch may be set every time-period
Set Points
Set Points
In this paper we are comparing the effectiveness of two models: The Nonlinear Branch Flow Model (BFM-NL) and LinDistFlow (LDF) for solving the MPOPF problem
Paper Id: 775

## Slide 3
Network Constraints
Bus
Bus
Load
Battery Reactive Power
Discharging Power
Charging Power
PV Reactive Power
PV Real Power
Branch
Branch
Branch
Branch Power Flow
Current Flow
Branch Power Flow
Branch Power Flow
Bus :
Bus :
Paper Id: 775

## Slide 4
Bus
Bus
Load
Battery Reactive Power
Discharging Power
Charging Power
PV Reactive Power
PV Real Power
Branch
Branch
Branch
Branch Power Flow
Current Flow
Branch Power Flow
Branch Power Flow
Bus :
Bus :
Node Real Power Balance
Node Reactive Power Balance
KVL across branch
Current Magnitude across branch
Network Constraints – BFM-NL vs LDF
LDF
BFM-NL
Battery SOC Equation
Battery Reactive Power Limits
Common
Only BFM-NL
Paper Id: 775

## Slide 5
Bus
Bus
Load
Battery Reactive Power
Discharging Power
Charging Power
PV Reactive Power
PV Real Power
Branch
Branch
Branch
Branch Power Flow
Current Flow
Branch Power Flow
Branch Power Flow
Bus :
Bus :
Desired Objective Function, (appended with an Battery Loss Function) [4]
Network Constraints
Engineering Constraints
Component Constraints (DERs, Batteries)
Paper Id: 775
Full Optimization Model – Balanced Three-Phase Nonlinear OPF
Objective
Network Constraints
Battery Reactive Power Constraints
PV and Battery Real Power Constraints

## Slide 6
Test Systems
ADS10 – A small Active Distribution System
IEEE123A and IEEE123B – Two versions of the IEEE123 Test System with varying levels of GED penetration
(Shown here: IEEE123A)
Paper Id: 775

## Slide 7
MPOPF Simulation Parameters
Horizon Duration: 24h
Time Period: 1h
Programming Language: Julia
Optimization Modelling Language: JuMP
Optimization Solver: Ipopt
Plant Simulator: OpenDSS
Decision Variables: Upto 17k
Linear Constraints: Upto 30k
Nonlinear Constraints: Upto 14k
IEEE123B
IEEE123A
Paper Id: 775

## Slide 8
Results – Performance Comparison of BFM-NL vs LDF
ADS10
IEEE123B
IEEE123A
Note: BFM-NL is not warm-started with LDF results, doing which may have had narrowed the simulation time gaps
LDF expectedly runs faster than BFM-NL by 3x, 20x and 14x respectively due to lack of nonlinear constraints
Reactive Power allocated by LDF somewhat arbitrary, under-utilizing GED reactive powers and borrowing almost entirely from the substation to supply grid demand
Optimality Gap is also fairly small, nearly negligible () for ADS10 and small ( and ) for IEEE123A and IEEE123B respectively
Paper Id: 775

## Slide 9
Results – Discrepancy Comparison of BFM-NL vs LDF
IEEE123A and IEEE123B – Significant Deviation from true values of Substation Real and Reactive Powers
ADS10
IEEE123B
IEEE123A
ADS10 – Almost no discrepancies
LinDistFlow can underpredict per-time-period substation power by upto which may lead to equipment limit violations!
LinDistFlow keeps Nodal Voltage Error under compared to BFM-NL generally acceptable
Paper Id: 775

## Slide 10
0x/15
Conclusion –
Complementary Modelling Benefits
Paper Id: 775
04/07/2025
Branch Flow Model – Nonlinear may be warm-started via the results of LinDistFlow for faster but more feasible and optimal results
LinDistFlow’s approximations are susceptible to the degree of nonlinear constraint causing components in the grid – the higher the penetration of reactive power enabled batteries, the more the optimality gap
LinDistFlow is relatively fast in providing control set points for GEDs. However it is important to pass the set points through a true nonlinear Powerflow solver, such as OpenDSS so as to avoid any unknown constraint violations such as any for substation power
Thus, depending on the use case (real-time constraints and infeasibility tolerance limits) a hybrid approach could be employed for best results

## Slide 11
0x/15
04/07/2025
Paper Id: 775