## Slide 1: Introducing myself: Aryan Ritwajeet Jha
Advisor: Anamika Dubey
PhD Thesis Topic: Scalable Multi-Period Optimal Power Flow in Active Distribution Systems
Or simply, Scalable MPOPF in ADS
Notes: Remember to hit the reset button to make sure all the page elements react properly.
There are 20 different layouts that you can choose from.

## Slide 2
Bachelor of Engineering in EEE at BITS Pilani, Hyderabad Campus
August
Master of Science (Research) in EE (Power Systems) at IIT Delhi
Summer Internship at Power Grid Corporation of India, Gurgaon
Summer Internship at North American Electric Reliability Corporation (NERC)
Summer Internship at GE Vernova Advanced Research Center (GEVARC)
Pursuing PhD ECE (Power Systems ) at Washington State University, Pullman, WA
Discontinued after years

## Slide 3
Intertemporal Constraints
Intertemporal Constraints
Set Points
Battery SOC Equation
Due to these intertemporal constraints, the optimization problem size becomes times larger, becoming more difficult to solve.
Intertemporal Constraints
Desired Objective Function
Network Constraints
Engineering Constraints
Component Constraints (DERs, Batteries)
The Multi Period Optimal Power Flow (MPOPF) problem for Active Distribution Systems
Controllable Components: Grid Edge Devices (GEDs) like Batteries and PVs spread throughout whose real and reactive dispatch may be set every time-period
Set Points
Set Points

## Slide 4
Bus
Bus
Load
Battery Reactive Power
Discharging Power
Charging Power
PV Reactive Power
PV Real Power
Branch
Branch
Branch
Branch Power Flow
Current Flow
Branch Power Flow
Branch Power Flow
Bus :
Bus :
Desired Objective Function, (appended with an Battery Loss Function) [4]
Network Constraints
Engineering Constraints
Component Constraints (DERs, Batteries)
Full Optimization Model – Balanced Three-Phase Nonlinear/Linear OPF
Objective
Network Constraints
Battery Reactive Power Constraints
PV and Battery Real Power Constraints

## Slide 5
MPOPF Problem Decomposition - Spatial
Previously utilized* and proven to cut down computational costs!
*A. R. Jha, S. Paul and A. Dubey, "Spatially Distributed Multi-Period Optimal Power Flow with Battery Energy Storage Systems," 2024 56th North American Power Symposium (NAPS), El Paso, TX, USA, 2024, pp. 1-6, doi: 10.1109/NAPS61145.2024.10741846.*

## Slide 6
MPOPF Problem Decomposition - Temporal
Tested with good results!
Currently being perfected..

## Slide 7: My reasons to take/ My expectations from EE

## Slide 8: Slides End Here. Thank you!