## Slide 1
Linear vs Nonlinear Optimal Power Flow Modelling - Tradeoffs and Takeaways
Aryan Ritwajeet Jha*, SIEEE, Subho Paul#, MIEEE and Anamika Dubey*, SMIEEE
*School of Electrical Engineering & Computer Sciences, Washington State University, Pullman, WA, USA
#Department of Electrical Engineering, Indian Institute of Technology (BHU) Varanasi, Varanasi, UP, India
A Substation Operator’s key objective when operating a Power Distribution System is minimizing Cost of Operation, subject to safety and reliability limits. This problem of determining an Optimal Control Schedule to achieve the same is called the Optimal Power Flow (OPF) problem. When the problem extends across a horizon of multiple time-steps, it is called the Multi-Period OPF (MPOPF) problem.
In our paper [1], we compared a nonlinear model (Branch Flow Model – Nonlinear) and a linear model (LinDistFlow) on several optimization benchmarks for the MPOPF problem.
Optimization Model
[1] Jha, A. R., Paul, S., & Dubey, A. (2025, July). Analyzing the performance of linear and nonlinear multi-period optimal power flow models for active distribution networks. Paper presented at the 2025 IEEE North-East India International Energy Conversion Conference and Exhibition (NE-IECCE 2025), National Institute of Technology Silchar, Assam, India.
[2] MultiPeriodDistOPF. (2025, July 27). Retrieved from https://github.com/Realife-Brahmin/MultiPeriodDistOPF
[3] Jha, A. R., Paul, S., & Dubey, A. . Spatially Distributed Multi-Period Optimal Power Flow with Battery Energy Storage Systems. 2024 56th North American Power Symposium (NAPS). IEEE. doi: 10.1109/NAPS61145.2024.10741846
Results
Fig. 2: Forecast of Demand, Solar and Cost of Substation Power
Fig. 3: A Schematic Representing all the Components in the System
Takeaways
Higher BESS and PV penetration or Bigger System Size Higher optimality gap of Linear approximation
Linear approximation control variables need to be passed through a true nonlinear simulator such as OpenDSS for correct state variables
Thus, depending on the use case (real-time constraints and infeasibility tolerance limits) a hybrid approach could be employed for best results
Significant Deviation from true values of Substation Real and Reactive Powers for Linear Approximation
Reactive Power allocated by linear model somewhat arbitrary, under-utilizing PV and BESS reactive powers
Low Optimality Gap and Fast Computation Time for Linear Model
Fig. 1: IEEE 123 Node System A - PVs Batteries
Test System
Simulation Profile
Horizon Duration: 24h
Time Period: 1h
Programming Language: Julia
Optimization Modelling Language: JuMP [2]
Optimization Solver: Ipopt
Plant Simulator: OpenDSS
Decision Variables: Upto 17k
Linear Constraints: Upto 30k
Nonlinear Constraints: Upto 14k
Optimization SETUP
Node Real Power Balance
Node Reactive Power Balance
KVL across branch
Current Magnitude across branch
LinDistFlow
BFM-NL
Only BFM-NL
Remaining constraints are identical..
Battery SOC Equation
Common
Common
Battery Reactive Power Limits
Bus
Bus
Load
Battery Reactive Power
Discharging Power
Charging Power
PV Reactive Power
PV Real Power
Branch
Branch
Branch
Branch Power Flow
Current Flow
Branch Power Flow
Branch Power Flow
Bus :
Bus :
Table 2: Performance Comparison between linear and nonlinear models for IEEE123 for 24h
KEY Points
References
Table 1: Discrepancy comparison between linear and nonlinear models for IEEE123 for 24h