## Slide 1: Multiple Source Optimal Power Flow
Aryan Ritwajeet Jha
Pursuing PhD ECE (Power Systems)
Washington State University
Notes: Remember to hit the reset button to make sure all the page elements react properly.
There are 20 different layouts that you can choose from.

## Slide 2: Multiple Sources = Substations* Network = Substations + Branches + Load* (*for now..)
Problem: Given a network with two substations with voltages and :
Determine the optimal value of for any given objective function, say cost of substation power s.t. other usual constraints of an active distribution network and NO backflow!

## Slide 3: Optimization using BFM-NL
Using Branch Flow Model (Nonlinear) I can optimize for the optimal power flow of the network – note that BFM does not take into consideration (relative) voltage angles of the substations.
Is the modelling (and thus the solution) even correct?

## Slide 4: Optimization using BFM-NL
Is the modelling (and thus the solution) even correct?
BFM-NL-reference-paper-SHLow
Technically the branch flow model just allows for multiple 'parent' nodes for each node. So my current formulation shouldn't be incorrect.
But only listing isn’t enough any longer, need to tell angles as well, in particular the value assumed for substation for this solution (if this is even a non-fake solution!)

## Slide 5: Optimization using BFM-NL
It looks like I need to study part II of the paper to understand the angle recovery process – nonunique and nontrivial for ‘meshed’ systems

## Slide 6
Meanwhile I’ve created the same system in OpenDSS where I am running powerflows for different values for – it does look like our solution should have a feasible value associated with it.

## Slide 7: Given some papers by Subho to read