## Slide 1: Preliminary Exam Presentation
Scalable Multi-Period Optimal Power Flow for Active Distribution Systems
Aryan Ritwajeet Jha
Pursuing PhD (ECE) Power Systems

## Slide 2: Introduction and Motivation
What’s MPOPF?
Real-world benefit?
Why a whole PhD on it?
Intended Contributions of this PhD

## Slide 3: Introduction and Motivation
What’s Multi-Period Optimal Power Flow (MPOPF)?
Intertemporal Constraints
Intertemporal Constraints
Set Points
Battery SOC Equation
An example of
is
Due to these intertemporal constraints, the optimization problem size becomes times larger, becoming more difficult to solve.
Intertemporal Constraints
Desired Objective Function
Network Constraints
Engineering Constraints
Component Constraints (DERs, Batteries)
Controllable Components: Grid Edge Devices (GEDs) like Batteries and PVs spread throughout whose real and reactive dispatch may be set every time-period
Set Points
Set Points

## Slide 4: Introduction and Motivation
What Real-world benefit does research on MPOPF provide?
An example of
The MPOPF problem is to be solved routinely (daily, hourly, 15-minutely) by Distribution System Operators (DSOs), Transmission System Operators (TSOs) to schedule dispatch
While generally they may rely on approximated forms of the MPOPF problem, say Economic Dispatch or DC Power Flow, increasing complexity and number of grid edge devices can put
  obeyance of operational constraints at risk
  incur a lot of opportunity cost due to missed profits of operating at a suboptimal control point
Solving the true MP(AC-)OPF problem – if possible in a competitive time would both be the safest and most profitable way to schedule dispatch for them

## Slide 5: Introduction and Motivation
Is the MPOPF problem hard enough to warrant a PhD?
An example of
Yes, the MP(AC-)OPF problem is inherently nonlinear and nonconvex – hard to solve for by optimization solvers unless the modeler can employ high quality approximation and/or relaxation techniques
Still the MPOPF problem, as it expands in time-horizon , can be very challenging to solve for due to its sheer size
In such cases, decomposition algorithms may be employed exploit the weak coupling of individual time-step problems
Putting out an algorithm isn’t enough – engineers need strong convergence guarantees and competitive computational performance
End-users need an easy-to-use framework to test the algorithm whose output in turn needs to be tested against trusted software

## Slide 6: Introduction and Motivation
Intended Contributions of my PhD
An example of
A framework for solving the MPOPF problem…
  Which has a systematic procedure to model components of power distribution system in a manner faithful to their behaviour yet computationally efficient to solve for
  That employs tailored algorithms which can exploit model’s properties to come up with an even faster solution
  Which has provision for comparison of output solution with those of trusted softwares, say OpenDSS
  Whose procedure may be theoretically justified

## Slide 7: PhD Execution Pipeline at a Glance
Courses (Program of Study)
Current Publications and intended future publication
High level timeline

## Slide 8: PhD Execution Pipeline at a Glance
Courses (Program of Study)
On track to be fulfilled by end of current semester (Fall 2025)

## Slide 9: PhD Execution Pipeline at a Glance
Very recently I’ve been able to solve the MPOPF problem using one of my decomposition techniques which I’m aiming to submit as extension to the IAS paper by December 2025.
Current Publications and intended future publication
NAPS Paper
IAS Paper which can be extended to an IAS journal

## Slide 10: Task List
Foundational Studies
Modelling Tradeoff Analysis
Spatial Decomposition Algorithm
Temporal Decomposition Algorithms
Extension to Three-Phase
Multiple-Source Optimal Power Flow (MS-OPF) Exploration

## Slide 11: Modelling Tradeoff Analysis – Linear vs Nonlinear

## Slide 12: MPDOPF - Spatial Decomposition of the MPOPF problem using ENApp
Intuition for Algorithm
Results

## Slide 13: MPDOPF - Spatially Decomposition MPOPF
Intuition for Spatial Decomposition
Imagine we have a bus distribution system. Substation bus is .
We wish to solve for its OPF, but would like to avoid solving the whole system in one go.
Let us focus on bus .

## Slide 14: MPDOPF - Spatially Decomposition MPOPF
Intuition for Spatial Decomposition
Let us focus on bus .
We can see that it is one of the gateway buses between the two areas demarcated by the dashed lines.

## Slide 15: MPDOPF - Spatially Decomposition MPOPF
Intuition for Spatial Decomposition
We can divide the system into two areas, one where bus behaves like a load node (whose load we don’t know) and one where bus behaves as a substation node (whose voltage we do don’t know).
Now we have two OPF problems, each of half the size (and less than half the computation time) of the original problem

## Slide 16: MPDOPF - Spatially Decomposition MPOPF
Intuition for Spatial Decomposition via OPF (single period)
Solve OPF to get
Set
Solve OPF to get for
Set
Area
Area
Each macro-iteration (:
Are boundary variables
converged?
Exchange boundary variables, and continue.
Stop
Start
Yes
++
Convergence means:
No

## Slide 17: DDP – Differential Dynamic Programming
Results

## Slide 18: tADMM – temporal ADMM
Results

## Slide 19: tADMM – temporal ADMM
A temporal decomposition algorithm for MPOPF
IEEE 123 Balanced Three-Phase System with PVs and Batteries solved for timesteps ( @ minute time intervals)

## Slide 20: tADMM – temporal ADMM
A temporal decomposition algorithm for MPOPF
IEEE 123 Balanced Three-Phase System with PVs and Batteries solved for timesteps ( @ minute time intervals)

## Slide 21: Future Work and Timeline
Perfecting Temporal Decomposition for Medium Sized Balanced Three-Phase Systems
Temporal Decomposition for Large Sized Unbalanced Three-Phase Systems
Concluding Research and Dissertation
Timeline Gantt Chart

## Slide 22: Future Work and Timeline
Already successfully achieved: IEEE 123 Balanced-Three Phase Network + PVs + Batteries for timesteps ( at ) solved to optimality using tADMM
But current implementation is somehow slower in time compared to brute force solution, perhaps due to poorly optimized code or other reasons – currently in investigation
Now to December 2025
Task 1: Temporal Decomposition for Medium 1ph Systems
Good convergence
Slow optimization
To fix!

## Slide 23: Future Work and Timeline
Formulate and implement tADMM for larger test systems like IEEE8500 3ph and 9500 3ph systems
  First start with LinDistFlow3ph implementation, and if successful attempt to extend to nonlinear 3ph formulation
Jan 2026 to March 2026
Task 2: Temporal Decomposition for Large Unbalanced 3ph Systems
9500 3ph System [9500Test]
Implement
IEEE 8500 3ph System [ieee8500]

## Slide 24: Future Work and Timeline
Complete investigating DDP and document its performance in a paper
Conduct a final comprehensive literature review on novel temporal decomposition methods for MPOPF
Complete any remaining implementations or case studies
Feb 2026 to May 2026
Task 3: Concluding Research and Dissertation
Try to finalize conclusion about DDP performance for MPOPF
Finish writing dissertation

## Slide 25: Future Work and Timeline
Timeline as Gantt Chart
Gantt chart showing execution plan for future works

## Slide 26: References

## Slide 27: References
[9500Test] Introducing the 9500 Node Distribution Test System to Support Advanced Power Applications. (2023, February 03). Retrieved from https://www.pnnl.gov/publications/introducing-9500-node-distribution-test-system-support-advanced-power-applications
[ieee8500] Arritt, R. F., & Dugan, R. C. . The IEEE 8500-node test feeder. IEEE PES T&D 2010. IEEE. doi: 10.1109/TDC.2010.5484381